## Summary (hidden)
S No. | State | Grid Landed Tariff (₹/kWh) | 132 kV Landed Tariff (₹/kWh) | 33 kV Landed Tariff(₹/kWh)
1 | Karnataka | 7.984 | 4.4404 | 5.0795
2 | Andhra Pradesh | 5.8496 | 4.2512 | 4.7558
3 | Tamil Nadu | 8.4156 | 4.3499 | 5.7664
4 | Maharashtra | #DIV/0! | 4.6809 | 5.7588
5 | Rajasthan | 6.9271 | 4.5677 | 4.8786
6 | UP | 6.5575 | 4.1355 | 4.8413

## Karnataka (hidden)
Open Access Charges |  |  |  | Grid
S.no. | Particular | Unit | Value | TOD | Base Tariff | P&G charges | Electricity Duty | FAC Surcharge | Tariff Charges (Rs/Kwh) | TOD Charges (Rs/Kwh) | TOD Tariff Charges(Rs/Kwh)
1 | Demand Charges | INR/KVA/Month | 365 | 06.00 Hrs to 09.00 Hrs | 6.6 | 0.36 | 0.594 | 0.18 | 7.734 | (+)1.00 | 8.734
2 | State Transmission Charges LTOA | INR/Kw/month | 229.09 | 09.00 Hrs to 18.00 Hrs | 6.6 | 0.36 | 0.594 | 0.18 | 7.734 | 0 | 7.734
3 | State Transmission Charges STOA | INR/Kwh | 0.65519 | 18.00 Hrs to 22.00 hrs | 6.6 | 0.36 | 0.594 | 0.18 | 7.734 | (+)1.00 | 8.734
4 | State Transmission Losses | % | 2.87% | 22.00 Hrs to 06.00 Hrs | 6.6 | 0.36 | 0.594 | 0.18 | 7.734 | (-)1.00 | 6.734
5 | State Wheeling Charges | INR/kWh | 0.37
6 | State Wheeling Losses | % | 5%
7 | Cross Subsidy Surcharge | INR/kWh | 1.87
8 | Additional Surcharge | INR/kWh | 0
9 | Electricity Duty | INR/kWh | 0.59
10 | Electricity Duty (captive and Group Captive) | INR/kWh | 0.2
11 | Banking Charges | % | 8%
12 | Application fee and Operating Charges | ₹/MW/Month | 2436
Landed Cost
S.No. | Particulars | UoM | Hybrid
1 | Capacity | MWac | 1
2 | Expected CUF (AC) | % | 55.96%
3 | Expected energy generation/annum | Cr. kWh | 0.49023
4 | STU Transmission Losses | % | 2.87%
5 | Wheeling Losses | % | 5%
6 | Expected Energy after Losses | Cr. kWh | 0.45235
7 | Banking Charges (of total generation (back calculated)) | % | 1.072%
8 | Units Wasted (back calculated) | % | 0%
9 | Expected energy Delivered/annum | Cr. kWh | 0.4475
10 | Tariff at Injection point | INR /kWh | 3.5
11 | Transmission Charges | INR /kWh | 0.56078
12 | Wheeling Charges | INR /kWh | 0.37
13 | Cross subsidy surcharge | INR /kWh | 0
14 | Additional Surcharge | INR /kWh | 0
15 | Electricity Duty | INR /kWh | 0.2
16 | Application Fee and Operating charges | INR /kWh | 0.0059629
17 | Tariff at drawl point | INR /kWh | 4.6367
18 | Tariff at drawl point including Losses | INR /kWh | 5.0795

## Andhra pradesh (hidden)
Open access charge |  |  |  |  | Grid Tariff
S.no. | Particular | Unit | Value |  | Time of Day tariff (TOD) (Low Grid Demand) (Jun 25-Aug 25) & (Nov 25- Jan'26)
1 | Demand Charges | INR/KVA/Month | 475 |  |  | TOD | TOD Tariff (Rs/Kwh) | Electricity Duty | FPPCA | Landed TOD Tariff
2 | State Transmission Charges LTOA | INR/Kwh | 0.2 |  | Peak | 6am - 10 am/ 6pm - 10pm | 6.4 | 0.06 | 0.4 | 6.86 | 8
3 | State Transmission Charges STOA | INR/Kwh | 0.2 |  | Off-Peak | 12am - 6am, 10am - 3pm | 4.65 | 0.06 | 0.4 | 5.11 | 11
4 | State Transmission Losses | % | 2.8% |  | Normal | 3pm - 6pm, 10pm- 12am | 5.4 | 0.06 | 0.4 | 5.86 | 5
5 | State Wheeling Charges | INR/kWh | 0.47 | https://aperc.gov.in/admin/upload/MYTOrderforWheelingBusinessforthe5thControlPeriodFY202425toFY202829.pdf Page 80
6 | State Wheeling Losses | % | 2.98% |  | Time of Day tariff (TOD) (High Grid Demand) (Feb 26, Mar 26), (Apr’25- May 25) & (Sep25- Oct25)
7 | Cross Subsidy Surcharge | INR/kWh | 1.55 |  |  | TOD | TOD Tariff (Rs/Kwh) | Electricity Duty | FPPCA | Landed TOD Tariff
8 | Additional Surcharge | INR/kWh | 0.93 |  | Peak | 6am - 10 am/ 6pm - 10pm | 6.9 | 0.06 | 0.4 | 7.36
9 | Electricity Duty | INR/kWh | 0.06 |  | Off-Peak | 12am - 6am, 10am - 3pm | 4.65 | 0.06 | 0.4 | 5.11
10 | Electricity Duty (captive and Group Captive) | INR/kWh | 0.06 |  | Normal | 3pm - 6pm, 10pm- 12am | 5.4 | 0.06 | 0.4 | 5.86
11 | Banking Charges | % | 8%
Landed Cost |  |  | Group Captive
S.No. | Particulars | UoM | Hybrid
1 | Capacity | MWac | 1
2 | Expected CUF (AC) | % | 55.96%
3 | Expected energy generation/annum | Cr. kWh | 0.49023
4 | STU Transmission Losses | % | 2.8%
5 | Wheeling Losses | % | 2.98%
6 | Expected Energy after Losses | Cr. kWh | 0.4623
7 | Banking Charges (of total generation (back calculated)) | % | 1.223%
8 | Units Wasted (back calculated) | % | 0%
9 | Expected energy Delivered/annum | Cr. kWh | 0.45665
10 | Tariff at Injection point | INR /kWh | 3.5
11 | Transmission Charges | INR /kWh | 0.4
12 | Wheeling Charges | INR /kWh | 0.47
13 | Cross subsidy surcharge | INR /kWh | 0
14 | Additional Surcharge | INR /kWh | 0
15 | Electricity Duty | INR /kWh | 0.06
16 | Tariff at drawl point | INR /kWh | 4.43
17 | Tariff at drawl point including Losses | INR /kWh | 4.7558

## Tamil Nadu (hidden)
Open access Charges | [5 empty] | Grid Tariff
S.no. | Particular | Unit | Value |  |  |  | TOD | Tod Charges | TOD Tariff (Rs/Kwh) | Electricity Duty | Landed TOD Tariff
1 | Demand Charges | INR/KVA/Month | 608 |  |  | Peak | 6.00A.M to 10.00 A.M 6.00 P.M to 10.00 P.M. | 25% Extra on Energy Charges | 9.375 | 0.4 | 9.775 | 8
2 | State Transmission Charges LTOA | ₹/Kw/Day | 5.8035 | 50% | Subsidy on transmission charges | Off-Peak | 10.00 P.M to 5.00 A.M | 5% off on the energy charges | 7.125 | 0.4 | 7.525 | 7
3 | State Transmission Charges STOA | ₹/kW/Hr | 0.24181 | 50% | Subsidy on transmission charges | Normal | 5:00am-6:00 A.M 10:00 A.M to 18:00 P.M | - | 7.5 | 0.4 | 7.9 | 9
4 | State Transmission Losses | % | 3.81%
5 | State Wheeling Charges | INR/kWh | 1.04
6 | State Wheeling Losses | % | 5.35%
7 | Cross Subsidy Surcharge | INR/kWh | 1.99
8 | Additional Surcharge | INR/kWh | 0.93
9 | Electricity Duty | INR/kWh | 0.4
10 | Electricity Duty (captive and Group Captive) | INR/kWh | 0.1
11 | Banking Charges | % | 8%
12 | Scheduling Charges | INR/day | 209
13 | System Operation Charges | INR/MW/Day | 96.16
Landed Cost (ariyalur) |  |  | Group Captive
S.No. | Particulars | UoM | Solar | Wind
1 | Capacity | MWac | 22 | 11
2 | Expected CUF (AC) | % | 25.95% | 35.96%
3 | Expected energy generation/annum | Cr. kWh | 5.0018 | 3.4646
4 | STU Transmission Losses | % | 3.81% | 3.81%
5 | Wheeling Losses | % | 5.35% | 5.35%
6 | Expected Energy after Losses | Cr. kWh | 4.5538 | 3.1543
7 | Banking Charges (of total generation (back calculated)) | % | 2.421% | 2.421%
8 | Units Wasted (back calculated) | % | 0% | 0%
9 | Expected energy Delivered/annum | Cr. kWh | 4.4436 | 3.078
10 | Tariff at Injection point | INR /kWh | 3.5 | 3.38
11 | Transmission Charges | INR /kWh | 0.46585 | 0.33627
12 | Wheeling Charges | INR /kWh | 1.04 | 0
13 | Cross subsidy surcharge | INR /kWh | 0 | 0
14 | Additional Surcharge | INR /kWh | 0 | 0
15 | Electricity Duty | INR /kWh | 0.1 | 0.1
16 | Scheduling Charges | INR /kWh | 0.0015251 | 0.0022018
17 | System Operation Charges | INR /kWh | 0.015438 | 0.011144
18 | Tariff at drawl point | INR /kWh | 5.1228 | 3.8296
19 | Tariff at drawl point including Losses | INR /kWh | 5.7664 | 4.3107

## Maharashtra
Open Access Charges
S.no. | Particular | Unit | Value
1 | Demand Charges | INR/KVA/Month | 600
2 | State Transmission Charges LTOA | ₹/Kwh | 1.04
3 | State Transmission Losses | % | 3.28%
4 | State Wheeling Charges | INR/kWh | 0.62
5 | State Wheeling Losses | % | 7.5%
6 | Cross Subsidy Surcharge | INR/kWh | 1.82
7 | Additional Surcharge | INR/kWh | 0
8 | Electricity Duty | INR/kWh | 0.65
9 | Electricity Duty (captive and Group Captive) | INR/kWh | 0
10 | Banking Charges | % | 8%
11 | Operating Charge | INR/MW | 29830
Landed Cost |  |  | Group Captive
S.No. | Particulars | UoM | Solar @ 33kv Injection | Solar @ 132kv Injection
1 | Capacity | MWac | 4 | 4
2 | Expected CUF (AC) | % | 25.95% | 25.95%
3 | Expected energy generation/annum | Cr. kWh | 0.90942 | 0.90942
4 | STU Transmission Losses | % | 3.28% | 3.28%
5 | Wheeling Losses | % | 7.5% | 0%
6 | Expected Energy after Losses | Cr. kWh | 0.81362 | 0.87959
7 | Banking Charges (of total generation (back calculated)) | % | 2.4% | 2.4%
8 | Expected energy Delivered/annum | Cr. kWh | 0.79409 | 0.85848
9 | Tariff at Injection point | INR /kWh | 3.5 | 3.5
10 | Transmission Charges | INR /kWh | 1.04 | 1.04
11 | Wheeling Charges | INR /kWh | 0.62 | 0
12 | Cross subsidy surcharge | INR /kWh | 0 | 0
13 | Additional Surcharge | INR /kWh | 0 | 0
14 | Electricity Duty | INR /kWh | 0 | 0
15 | Operating Charges | INR /kWh | 0.01312 | 0
16 | Tariff at drawl point | INR /kWh | 5.1731 | 4.54
17 | Tariff at drawl point including Losses | INR /kWh | 5.9244 | 4.8094

## Rajasthan (hidden)
Open Access Charges |  |  |  | Grid tariff
S.no. | Particular | Unit | Value | Slot | ToD | Energy Charge | ED | Landed Traiff
1 | State Transmission Charges LTOA | inr/kW/month | 170.79 | ToD 2 | 6:00 - 8:00 | 6.825 | 0.4 | 7.225 | 2
2 | State Transmission Charges STOA | INR/Kwh | 0.464 | ToD 1 | 00:00 - 6:00 08:00 - 12:00 16:00 - 18:00 22:00 - 00:00 | 6.5 | 0.4 | 6.9 | 14
3 | State Transmission Losses | % | 4.2% | ToD 4 | 18:00 - 22:00 | 7.15 | 0.4 | 7.55 | 4
4 | State Wheeling Charges | INR/kWh | 0.12 | ToD 3 | 12:00 - 16:00 | 5.85 | 0.4 | 6.25 | 4
5 | State Wheeling Losses | % | 3.8%
6 | Cross Subsidy Surcharge | INR/kWh | 1.65
7 | Additional Surcharge | INR/kWh | 0.7
8 | Electricity Duty | INR/kWh | 0.5
9 | Electricity Duty (captive and Group Captive) | INR/kWh | 0
10 | Capping of Banked Energy | % | 0.3
11 | Banking Charges | % | 0.08
Landed Tariff
S.No. | Particulars | UoM | Solar
1 | Voltage Level | kV | 33 kV
6 | Capacity | MWac | 1
7 | Expected CUF (AC) | % | 27%
8 | Expected energy generation/annum | Cr. kWh | 0.23648
9 | STU Transmission Losses | % | 4.2%
10 | Wheeling Losses | % | 3.8%
11 | Expected Energy after Losses | Cr. kWh | 0.21794
12 | Banking Charges | % | 0.21%
13 | Units Wasted | % | 0%
14 | Expected energy Delivered/annum | Cr. kWh | 0.21749
15 | Tariff at Injection point | INR /kWh | 3.5
16 | Transmission Charges | INR /kWh | 0.86664
17 | Wheeling Charges | INR /kWh | 0.12
18 | Cross subsidy surcharge | INR /kWh | 0
19 | Additional Surcharge | INR /kWh | 0
20 | Electricity Duty | INR /kWh | 0
21 | Tariff at drawl point | INR /kWh | 4.4866
22 | Tariff at drawl point including Losses | INR /kWh | 4.8786

## UP (hidden)
Open Access Charges |  |  |  |  | Grid Tariff
S.no. | Particular | Unit | Value |  | Tod | Hours | Summer Months | (April - Sept) | Energy Charge | ToD Tariff | ED | Landed Tariff
1 | State Transmission Charges LTOA | INR/Kwh | 0.1337 | after 50% exemption | Off-Peak | 5 | 5 - 10 | -15% | 6.1 | 5.185 | 0.4575 | 5.6425
2 | State Transmission Losses | % | 3.18% |  | Normal | 9 | 10 - 19 | 0 | 6.1 | 6.1 | 0.4575 | 6.5575
3 | Operation & Administration Charges | INR/kWh | 0.05 |  | Peak | 8 | 19 - 3 | 15% | 6.1 | 7.015 | 0.4575 | 7.4725
4 | State Wheeling Charges | INR/kWh | 0.49925 | after 50% exemption | Normal | 2 | 3 - 5 | 0 | 6.1 | 6.1 | 0.4575 | 6.5575
5 | State Wheeling Losses | % | 3%
6 | Cross Subsidy Surcharge | INR/kWh | 0 |  | Tod | Hours | Winter Months | Oct - March | Energy Charge | Tod Tariff | ED | Landed Tariff
7 | Additional Surcharge | INR/kWh | 0 |  | Normal | 6 | 5 - 11 | 0% | 6.1 | 6.1 | 0.4575 | 6.5575
8 | Electricity Duty (captive and Group Captive) | INR/kWh | 0 |  | Normal | 6 | 11 - 17 | 0% | 6.1 | 6.1 | 0.4575 | 6.5575
9 | Capping of Banked Energy | % | 30% |  | Peak | 6 | 17 - 23 | 15% | 6.1 | 7.015 | 0.4575 | 7.4725
10 | Banking Charges | % | 8% |  | Off-Peak | 6 | 23 - 5 | -15% | 6.1 | 5.185 | 0.4575 | 5.6425
Landed Tariff
S.No. | Particulars | UoM | Solar
1 | Capacity | MWac | 1
2 | Expected CUF (AC) | % | 27%
3 | Expected energy generation/annum | Cr. kWh | 0.23648
4 | STU Transmission Losses | % | 3.18%
5 | Wheeling Losses | % | 3%
6 | Expected Energy after Losses | Cr. kWh | 0.2221
7 | Banking Charges | % | 8%
8 | Expected energy Delivered/annum | Cr. kWh | 0.20433
9 | Tariff at Injection point | INR /kWh | 3.5
10 | Transmission Charges | INR /kWh | 0.1337
11 | Wheeling Charges | INR /kWh | 0.49925
12 | Cross subsidy surcharge | INR /kWh | 0
13 | Additional Surcharge | INR /kWh | 0
14 | Operation & Administration Charges | INR /kWh | 0.05
15 | Electricity Duty | INR /kWh | 0
16 | Tariff at drawl point | INR /kWh | 4.1829
17 | Tariff at drawl point including Losses | INR /kWh | 4.8413